## Project Information
Project #### Asset Schedule
Programme ID: |  | Prepared By:
Programm Location: |  | Date:
As-Built plans:
Please attach/send any plans that meet the requirements of PNCC Engineering Standards for Land Development
https://www.pncc.govt.nz/council-city/official-documents/plans/engineering-standards-for-land-development/
WITHIN THIS TEMPLATE
Project Information: | This tab contains information about the project as a whole
3 Waters Reticulation: | This tab collects Asset data for all reticulation Assets, plans should also be provided showing the new Assets spatially including Vertical Datum
Plant & Equipment: | This tab collects Asset data for any new Plant Assets including but not limited to Turitea Water Treatment Plant & Ashhursy Sewer Pump Station
Resource Recovery | This tab collects Asset data for any new Rubbish & Recycling Assets including but not limited to Awapuni Weighbridge & Ferguson St Recylcing center
Data Validation: | This tab is for Admin Staff

## 3 Waters Reticulation
Appendix 12A Schedule of Assets - 3 Waters
Project #### Asset Schedule
3 Waters Reticulation
Activity | Description | Unit | Quantity | Rate | Total Amount | Comment
Water | 50 Internal Diameter MDPE PN12.5 Ridermain | m | 120 | 120 | 14400

## Plant & Equipment
Project #### Asset Schedule
Plant & Equipment
Description | Area | Sub Area | Equipment Type | Manufacturer | Model | Serial Number | Manufactured Date | Cost | Installed Date | Expected Life | Owner | Location | Comment
Pump 1 | MECHANICAL | PUMP | Pump Other | Grundfos | VS 4A60-B | SN1535326 | 2018-12-01 | 3000 | 2018-12-05 | 50 | PNCC WATER | Ashhurst Sewer Pump Station

## Resource Recovery
Project #### Asset Schedule
Resource Recovery
Description | Area | Sub Area | Equipment Type | Manufacturer | Model | Serial Number | Manufactured Date | Cost | Installed Date | Expected Life | Owner | Location | Comment
Leachate Pump and Electrics | MECHANICAL | PUMP | Pump Other | Cat Pumps | 311 | S1088465 | 2019-08-21 | 1500 | 2019-09-30 | 50 | PNCC WATER | Awapuni Landfill
0

## Data validation
ADMIN USE ONLY
Area | Sub Area | Equipment Type | Owner | Activity
BUILDING | BORE | Actuator Electrical | PNCC PARKS | Water
CIVIL | CABLING | Aeration Blowers | PNCC PROPERTY | Storm
ELECTRICAL | CHAMBER | Aeration compressor | PNCC ROADING | Sewer
GAS | CONDITION | Aeration Ducting | PNCC WATER
MECHANICAL | CONTROL | Aeration Fan
| DOSING | Aeration Mixers or Aerators
| FENCE | Aeration Other
| FIXTURE | Aeration Treatment
| FLARE | Aeration Vent
| FLOOR | Automated Batching Plant General
| FOUNDATION | Automated Batching Plant Polyelectrolyte
| GEARBOX | Control Electrical
| GENERATOR | Control Flow
| GROUND | Control Level
| HARDSTAND | Control Other
| INSTRUMENT | Control Pump
| LAND | Control Temperature
| METER | Conveyors Electrical
| MOTOR | Conveyors Mechanical
| OTHER | Conveyors Other Components
| PIPEWORK | Conveyors Structural
| PLANT | Decant Arms
| PLC | Decant Attachments
| PUMP | Decant Ropes or Cables
| RETIC | Decant Columns
| ROAD | Decant Membranes or Seals
| ROOF | Decant Troughs
| ROOM | Decant Winches
| SAFETY | Decant Yokes
| SITE | Activated Carbon Dosing
| TANK | Chlorine Dosing
| TELEMETRY | Fluoride Dosing
| VALVE | Lime Dosing
| VESSEL | Other Dosing
| VSD | Poly Aluminium Chloride Dosing
| WALL | Poly Electrolyte Dosing
| WELL | Permanganate Dosing
Sodium Bicarbonate Dosing
Soda Ash Dosing
Alarm Panel
Control Board
Distribution Board
Generator
Electrical Other
Powerfactor
Switchboard
Telemetry
Soft Starter
Variable Speed Drives
Filter
Fences and Gates
Landscaping
Pavement or Roads
Retaining Walls
H & S Medical
H & S Eyewash
H & S Fire Extinguisher
H & S Gas Detection
H & S Respiration Equipment
H & S Emergency Shower
Measurement Analytical
Measurement Flow
Measurement Level
Measurement Other
Measurement Pressure
Measurement Temp
Measurement Weight
Baler
Belt
Conveyors
Gearboxes
Guard Rails or Hand Rails
Hoist or Trolly
Ladders or Landings
Magnets
Miscellaneous Components
Motors
Gantry or Rails
Strainers or Screens
Tanks
Pipework Compressed Air
Pipework Emergency Overflow
Pipework Gas
Pipework Other
Pipework Plumbing
Pipework Sewage
Pipework Storm
Pipework Water
Pump Air Compressor
Pump Booster
Pump Casing
Pump Delivery
Pump Dosing
Pump Feed or Supply
Pump Gear
Pump Impellors
Pump Mixing
Pump Motors
Pump Other
Pump Piston
Pump Submersible
Reticulation Irrigation or Disposal
Reticulation Other
Reticultion Sewage
Reticulation water
Boreholes
Buildings
Clarifiers
Ponds or Drainage Ditches
Ducts and Channels
Drywells
Flow or Metering Chambers
Rapid Gravity Filters
Manholes
Other Structures
Guard Rails/Hand Rails
Settlement Chambers or Tanks
Tanks
Valve Chambers
Weirs
Pump Chambers Wetwells
Air Release or Surge Relief Valves
Air Scour Valves
Backflow Prevention Valves
Check or Non Return Valves
Delivery Valves
Drain or Waste Valves
Hydrant valves
Inlet main valves
Bypass or Three Way or Other Valves
Regulating or Pressure Sustaining Valves
Rising Main Valves
Suction Valves
Upwash Valves
Wetwell Valves